Decontamination & HTM 01-05 – CQC Inspection Checklist

Designed to support CQC inspection readiness and internal self-audit of dental decontamination processes.

| Practice / Site: |  |
| --- | --- |
| Area / Decontamination Room: |  |
| Completed by (Name & Role): |  |
| Date: |  |
| Decontamination Lead / Reviewer: |  |
| Signature: |  |
| Frequency (tick): ☐ Pre-inspection ☐ Monthly ☐ Quarterly ☐ Other: |  |

Document Version: v1.0

Last Review Date: ____/____/_____                                         Next Review Due: ____/____/_____

1. Decontamination Workflow & Zoning (HTM 01-05)

☐ Dirty, clean, and sterile zones clearly defined and respected

☐ One-way instrument flow followed (dirty → clean → sterile)

☐ Physical or procedural separation in place where space is limited

☐ Staff able to describe decontamination workflow accurately

2. Instrument Transport & Handling

☐ Used instruments transported safely to decontamination area

☐ Sharps handled according to sharps safety procedures

☐ No manual scrubbing outside approved processes

☐ Appropriate PPE worn during handling

3. Cleaning Stage (Washer-disinfector / Manual)

☐ Cleaning completed before sterilisation

☐ Washer-disinfector cycles used where available

☐ Manual cleaning follows validated local protocol

☐ Detergents and cleaning agents used as instructed

☐ Cleaning records available and completed

4. Sterilisation (Autoclave)

☐ Validated autoclave used for dental instruments

☐ Correct cycle selected for instrument type

☐ Cycle parameters checked and recorded

☐ Autoclave faults identified and escalated appropriately

5. Validation, Testing & Quality Assurance

☐ Daily, weekly, and periodic tests completed as required

☐ Test results recorded and retained

☐ Failed tests managed according to protocol

☐ Service and maintenance records available

6. Instrument Inspection, Packaging & Storage

☐ Instruments inspected for cleanliness and damage

☐ Packaging completed correctly where applicable

☐ Sterile instruments labelled and stored appropriately

☐ Stock rotation followed (first in, first out)

7. Single-Use Instruments

☐ Single-use instruments clearly identified

☐ Single-use items not reprocessed

☐ Correct disposal after use

8. Staff Training & Competence

☐ Staff trained in decontamination procedures

☐ Training records up to date

☐ Competency assessments completed where required

9. Documentation, Policies & Governance

☐ Decontamination policies accessible and current

☐ HTM 01-05 guidance referenced in local procedures

☐ Audits scheduled and completed

☐ Actions followed up and reviewed

Non-Compliance & Corrective Actions

| Issue Identified | Immediate Action Taken | Escalated To | Target Date | Closed (Date / Sign) |
| --- | --- | --- | --- | --- |