Dental Radiography & IR(ME)R – CQC Inspection Checklist

Designed to support CQC inspection readiness and internal self-audit of dental radiography compliance.

| Practice / Site: |  |
| --- | --- |
| Radiography Area / Surgery: |  |
| Completed by (Name & Role): |  |
| Date: |  |
| Radiation Protection Supervisor (RPS) / Reviewer: |  |
| Signature: |  |
| Frequency (tick): ☐ Pre-inspection ☐ Monthly ☐ Quarterly ☐ Other: |  |

Document Version: v1.0

Last Review Date: ____/____/_____                                       Next Review Due: ____/____/_____

1. Governance & Legal Framework (IR(ME)R / IRR)

☐ Radiography procedures aligned with IR(ME)R requirements

☐ Local rules available and accessible

☐ Roles of Employer, Referrer, Practitioner and Operator defined

☐ Radiation Protection Adviser (RPA) details available

2. Training, Competence & Authorisation

☐ Radiography training evidence available for all operators

☐ Written authorisation in place for radiography duties

☐ Continuing education and updates recorded

☐ Students supervised according to local policy

3. Equipment & Safety Controls

☐ X-ray equipment maintained and serviced

☐ Warning signs and controlled areas clearly identified

☐ Rectangular collimation and beam alignment appropriate

☐ Personal dosimetry arrangements in place where required

4. Quality Assurance & Image Quality

☐ Quality assurance programme documented

☐ Image quality grading performed and recorded

☐ Reject analysis completed and reviewed

☐ Actions taken where image quality standards not met

5. Radiation Protection Measures

☐ Justification and optimisation applied to all exposures

☐ Exposure settings appropriate for patient and technique

☐ Radiation doses kept as low as reasonably practicable (ALARP)

☐ Pregnancy checks applied where indicated

6. Records & Documentation

☐ Radiographic exposures recorded in patient notes

☐ Radiography audits completed and documented

☐ Incident and near-miss reporting procedures in place

☐ Records retained in line with local policy

7. Policies, Audits & Review

☐ Radiography policy current and accessible

☐ Audit cycle completed and reviewed

☐ Non-compliances escalated and addressed

☐ Evidence available for CQC inspection

Non-Compliance & Corrective Actions

| Issue Identified | Immediate Action Taken | Escalated To | Target Date | Closed (Date / Sign) |
| --- | --- | --- | --- | --- |