Medical Emergencies & Emergency Equipment – CQC Inspection Checklist

Designed to support CQC inspection readiness and internal self-audit of medical emergency preparedness in dental practices.

| Practice / Site: |  |
| --- | --- |
| Area / Surgery: |  |
| Completed by (Name & Role): |  |
| Date: |  |
| Medical Emergencies Lead / Reviewer: |  |
| Signature: |  |
| Frequency (tick): ☐ Pre-inspection ☐ Monthly ☐ Quarterly ☐ Other: |  |

Document Version: v1.0

Last Review Date: ____/____/_____                                      Next Review Due: ____/____/_____

1. Emergency Drugs – Availability & Storage

☐ All required emergency drugs available and in date

☐ Drugs stored together in a clearly labelled emergency kit

☐ Drug storage location known to all staff

☐ No expired or missing emergency drugs identified

2. Emergency Equipment – Availability & Function

☐ Oxygen cylinder present, secured, and adequately filled

☐ Oxygen delivery equipment available and functional

☐ AED present, accessible, and within service date

☐ Suction equipment available and working

☐ Airway adjuncts present and accessible

3. Emergency Drug & Equipment Checks

☐ Routine checks completed at agreed frequency

☐ Check records completed and signed

☐ Deficiencies identified and escalated promptly

☐ Replacement items sourced without delay

4. Staff Training & Preparedness

☐ All clinical staff trained in medical emergencies management

☐ Training updated at appropriate intervals

☐ CPR and AED training current

☐ Staff confident with roles during an emergency

5. Emergency Protocols & Accessibility

☐ Written emergency protocols available and accessible

☐ Staff aware of emergency response procedures

☐ Emergency contact numbers available

☐ Clear process for summoning external emergency services

6. Emergency Drugs & Equipment Use

☐ Emergency drugs used only as indicated

☐ Used drugs and equipment recorded appropriately

☐ Post-incident checks completed following use

7. Incident Reporting & Review

☐ Medical emergency incidents recorded

☐ Near-miss events documented

☐ Incidents reviewed and learning shared

☐ Actions implemented following incidents

8. Governance & Audit

☐ Medical emergencies policy accessible and current

☐ Audit of emergency preparedness completed

☐ Audit findings reviewed and actions tracked

☐ Evidence available for inspection

Non-Compliance & Corrective Actions

| Issue Identified | Immediate Action Taken | Escalated To | Target Date | Closed (Date / Sign) |
| --- | --- | --- | --- | --- |